## Introduction
Interconnection Queue Dataset &
Summarized Data Files, through 2025
Joseph Rand, Anna Cheyette, Will Gorman, Ryan Wiser,
Joachim Seel, Fritz Kahrl
Lawrence Berkeley National Laboratory
Chris Talley, Steven Zhang
Interconnection.fyi
May 2026
For the additional details, historical reports, and interactive data visualization tools, see:
emp.lbl.gov/queues
[removed from fixture]
Image source: Vecteezy.com
Disclaimer
This document was prepared as an account of work sponsored by the United States Government. While this document is believed to contain correct information, neither the United States Government nor any agency thereof, nor The Regents of the University of California, nor any of their employees, makes any warranty, express or implied, or assumes any legal responsibility for the accuracy, completeness, or usefulness of any information, apparatus, product, or process disclosed, or represents that its use would not infringe privately owned rights. Reference herein to any specific commercial product, process, or service by its trade name, trademark, manufacturer, or otherwise, does not necessarily constitute or imply its endorsement, recommendation, or favoring by the United States Government or any agency thereof, or The Regents of the University of California. The views and opinions of authors expressed herein do not necessarily state or reflect those of the United States Government or any agency thereof, or The Regents of the University of California.
Ernest Orlando Lawrence Berkeley National Laboratory is an equal opportunity employer.
Copyright Notice
This dataset has been authored by an author at Lawrence Berkeley National Laboratory under Contract No. DE-AC02-05CH11231 with the U.S. Department of Energy. The U.S. Government retains, and the publisher, by accepting the article for publication, acknowledges, that the U.S. Government retains a non-exclusive, paid-up, irrevocable, worldwide license to publish or reproduce the published form of this dataset, or allow others to do so, for U.S. Government purposes.

## 03. Complete Queue Data
RETURN TO CONTENTS
q_id | q_status | q_date | prop_date | on_date | wd_date | ia_date | IA_phase_raw | IA_phase_clean | county | state | fips_code | poi_name | region | project_name | utility | entity | developer | cluster | service | project_type | type_1 | type_2 | type_3 | type_clean | mw_1 | mw_2 | mw_3 | q_year | prop_year
not assigned | withdrawn | 2019-02-15 |  |  |  |  | Withdrawn | Withdrawn | Coconino | AZ | 4005 | Twin Arrows 69kV Substation | West |  | Arizona Public Service | APS |  |  | ERIS | Generation | Solar |  |  | Solar | 20 |  |  | 2019
Q274 | active | 2018-03-30 | 2024-12-31 |  |  |  | Transitional Cluster: Cluster Study (Phase 2) | Cluster Study | Coconino | AZ | 4005 | Cedar Mountain - Moenkopi 500 kV Line | West |  | Arizona Public Service | APS |  |  | ERIS | Generation | Solar |  |  | Solar | 1000 |  |  | 2018 | 2024
Q311 | active | 2019-09-26 | 2021-12-31 |  |  |  | Project with APS Project Manager | In Progress (unknown study) | Navajo | AZ | 4017 | Sitgreaves substation | West |  | Arizona Public Service | APS |  |  | NRIS | Generation | Wind | Battery |  | Wind+Battery | 500 |  |  | 2019 | 2021
Q399 | withdrawn | 2021-09-24 | 2023-06-01 |  |  |  | Withdrawn | Withdrawn | Coconino | AZ | 4005 | Navajo 500kV Substation | West |  | Arizona Public Service | APS |  |  | NRIS/ERIS | Generation | Other Storage |  |  | Other Storage | 300 |  |  | 2021 | 2023
45 | operational | 2015-06-01 | 2015-07-24 | 2015-08-31 |  |  |  | IA Executed |  |  |  | Avista distribution system on the Avista Barker Substation feeder 12F2 | West |  | Avista Utilities | Avista |  |  | NRIS | Generation | Solar |  |  | Solar | 0.423 |  |  | 2015 | 2015
BHCT G19 | active | 2015-04-01 | 2019-11-01 |  |  |  | LGIA Draft | IA Pending | Pueblo | CO | 8101 | Pueblo Airport Sub | West |  | Black Hills Colorado Electric | BHCT |  |  | NRIS | Generation | Solar |  |  | Solar | 60 |  |  | 2015 | 2019
G0203 | operational | 2005-05-26 | 2007-12-01 |  |  | 2010-08-16 |  | IA Executed | Klickitat | WA | 53039 | Rock Creek | West | Juniper Canyon 1 | Avangrid Power, LLC | BPA | Avangrid Power, LLC |  | NRIS | Generation | Wind |  |  | Wind | 50 |  |  | 2005 | 2007
G0204 | operational | 2005-05-26 | 2007-12-01 |  |  | 2010-08-16 |  | IA Executed | Klickitat | WA | 53039 | Rock Creek Substation 230 kV. | West | Juniper Canyon 1 | Avangrid Power, LLC | BPA | Avangrid Power, LLC |  | ERIS | Generation | Wind |  |  | Wind | 100 |  |  | 2005 | 2007
G0208 | operational | 2005-07-18 | 2007-03-01 |  |  | 2007-01-27 |  | IA Executed | Klickitat | WA | 53039 | Rock Creek Substation 230 kV | West | Tuolumne Wind (Windy Point 1) | Windy Point Partners, LLC | BPA | Windy Point Partners, LLC |  | NRIS | Generation | Wind |  |  | Wind | 125 |  |  | 2005 | 2007
G0239 | operational | 2006-10-10 | 2010-07-01 |  |  | 2020-03-13 |  | IA Executed | Gilliam | OR | 41021 | BPA Slatt Substation | West | Montague 2 | Avangrid Power, LLC | BPA | Avangrid Power, LLC |  | ERIS | Generation | Solar |  |  | Solar | 202 |  |  | 2006 | 2010
G0317 | withdrawn | 2008-03-17 | 2010-09-07 | [5 empty] | Lincoln | MT | 30053 | Existing T-3 at the Libby Project | West | Libby 6th Unit | BPA Power Services | BPA |  |  | NRIS | Generation | Hydro |  |  | Hydro | 120 |  |  | 2008 | 2010
G0370 | operational | 2009-06-01 | 2010-12-31 |  |  | 2011-10-24 |  | IA Executed | Snohomish | WA | 53061 | Sultan Substation | West | Young‚Äôs Creek Hydro Project | Public Utility District No. 1 of Snohomish County | BPA |  |  | ERIS | Generation | Hydro |  |  | Hydro | 8 |  |  | 2009 | 2010
G0484 | operational | 2013-05-07 | 2014-06-02 |  |  | 2014-12-09 |  | IA Executed | Snohomish | WA | 53061 | BPA's Snohomish Substation | West | Hardeson Battery Storage | Public Utility District No. 1 of Snohomish County | BPA |  |  | ERIS | Generation | Battery |  |  | Battery | 1 |  |  | 2013 | 2014
G0492 | active | 2013-08-02 | 2019-07-01 |  |  |  |  | Facility Study | Clearwater | ID | 16035 | Dworshak Substation. | West | Dworshak Fourth Unit | BPA Power Services | BPA |  |  | NRIS | Generation | Hydro |  |  | Hydro | 300 |  |  | 2013 | 2019
G1 | withdrawn | 2000-06-09 | 2000-06-09 | [5 empty] | Umatilla | OR | 41059 | McNary 230 kv Substation | West | PG and E Generation | PG&E Energy Services | BPA |  |  | ERIS | Generation | Gas |  |  | Gas | 581 |  |  | 2000 | 2000
G103 | withdrawn | 2002-06-07 | 2004-10-01 | [5 empty] | Klamath | OR | 41035 | BPA's 230kV Malin-Hilltop line | West | Telephone Flat | Calpine Energy Services, L.P. | BPA | Calpine Energy Services, L.P. |  | ERIS | Generation | Geothermal |  |  | Geothermal | 60 |  |  | 2002 | 2004
10 | withdrawn | 2001-05-02 | 2009-07-01 |  |  |  | Executed | IA Executed | Kings | CA | 6031 | Gates Substation (Arco - Gates 230 kV line) | CAISO | AVENAL ENERGY PROJECT | PGAE | CAISO |  |  |  | Generation | Gas |  |  | Gas | 620 |  |  | 2001 | 2009
283 | suspended | 2020-04-21 | 2022-12-31 | [5 empty] | Gilchrist | FL | 12041 | Cowbell Switching Station | Southeast |  | Duke Energy Florida | Duke | Florida Renewable Partners, LLC |  | NRIS/ERIS | Generation | Solar |  |  | Solar | 74.5 |  |  | 2020 | 2022
LG-17-7-1 | active | 2017-07-10 | 2020-09-23 |  |  |  | LGIA in effect | IA Executed | Chaves | NM | 35005 | Empire Substation | West | EC500W Project | El Paso Electric Company | EPE |  |  | ERIS | Generation | Wind |  |  | Wind | 247 |  |  | 2017 | 2020
LG-17-9-1 | suspended | 2017-09-06 | 2020-09-01 |  |  |  | LGIA in effect | IA Executed | Dona Ana | NM | 35013 | Diablo 115 kV Substation | West | D150S Project | El Paso Electric Company | EPE |  |  | NRIS/ERIS | Generation | Solar | Battery |  | Solar+Battery | 150 |  |  | 2017 | 2020
LG-17-9-3 | active | 2017-09-27 | 2022-06-05 |  |  |  | LGIA in Effect | IA Executed | Otero | NM | 35035 | Otero 345kV Substation | West | AC120SB Project | El Paso Electric Company | EPE |  |  | NRIS/ERIS | Generation | Solar | Battery |  | Solar+Battery | 120 |  |  | 2017 | 2022
Q25-LG-5-13 | active | 2025-05-13 | 2029-06-01 |  |  |  |  | In Progress (unknown study) | Sierra | NM | 35051 | West Mesa-Arroyo 345 kV Line | West | WMA300SB | El Paso Electric Company | EPE |  | 2025 Cluster | NRIS | Generation | Solar | Battery |  | Solar+Battery | 300 |  |  | 2025 | 2029
GI-128 | active | 2019-10-10 | 2025-11-30 | 2022-10-15 |  |  | Full NTP | Construction | Candler | GA | 13043 | Statesboro - Vidalia 230 kV TL | Southeast | SR Metter | Georgia Transmission | GTC |  |  |  | Generation | Solar |  |  | Solar | 80 |  |  | 2019 | 2025
GI-153 | active | 2021-07-19 | 2024-11-30 |  |  |  | System Impact Study | System Impact Study | Troup | GA | 13285 | Glassbridge - Glassbridge Tap 115 kV TL | Southeast | Long Cane Solar | Georgia Transmission | GTC |  |  |  | Generation | Solar | Battery |  | Solar+Battery | 80 |  |  | 2021 | 2024
BPA | unknown | 2009-08-07 | [6 empty] | Box Elder | UT | 49003 | 138kV | West |  | Idaho Power Company | IP |  |  | NRIS/ERIS | Generation | Wind |  |  | Wind | 95 |  |  | 2009
JEA-Q008 | active | 2018-02-22 | 2030-06-01 |  |  |  |  | Feasibility Study | Duval | FL | 12031 | Greenland Energy Center | Southeast |  | Jacksonville Electric Authority | JEA |  |  | NRIS | Generation | Gas |  |  | Gas | 645 |  |  | 2018 | 2030
LGE-GIS-2009-003 | withdrawn | 2009-11-16 | 2017-04-01 | [5 empty] | Muhlenberg | KY | 21177 | Green River substation on the 161 kV side | Southeast |  | Louisville Gas & Electric and Kentucky Utilities Energy | LGE-KU |  |  | NRIS | Generation | Gas | Oil |  | Gas+Oil | 560 |  |  | 2009 | 2017
324 | withdrawn | 2017-07-10 | 2019-12-31 |  |  |  | Feasibility Study System Impact Study Facilities Study | Facility Study | Yellowstone | MT | 30111 | Billings Steam Plant 100kV Switchyard | West |  | NorthWestern Energy | NWMT |  |  | NRIS | Generation | Gas | Battery |  | Gas+Battery | 200 |  |  | 2017 | 2019
3 | operational | 1998-04-27 |  | 2005-07-31 |  |  | SRIS | IA Executed | Albany | NY | 36001 | Albany 115kV | NYISO | Bethlehem Energy Center | NM-NG | NYISO | PSEG Power NY |  |  | Generation | Gas |  |  | Gas | 350 |  |  | 1998
642 | active | 2015-02-09 | 2024-12-31 |  |  | 2016-09-08 | IA signed 9/8/16, suspended 12/11/2024 | Suspended | Iron | UT | 49021 | Parowan substation | West |  | PacifiCorp | PacifiCorp | Parowan Solar, LLC |  | ERIS | Generation | Solar | Battery |  | Solar+Battery | 58 |  |  | 2015 | 2024
IA-PNM-2020-11 | suspended | 2020-10-14 | 2023-05-01 |  |  |  | LGIA executed 6/12/24. In 3-yr Suspension effective 6/12/24. | Suspended | Mckinley | NM | 35031 | Close to Ambrosia Lake 115 kV Substation | West | Ambrosia Solar | Public Service Company of New Mexico | PNM | Ambrosia Solar |  | ERIS | Generation | Solar | Battery |  | Solar+Battery | 90 |  |  | 2020 | 2023
IA-PNM-2021-17 | active | 2021-07-12 | 2025-07-01 | [5 empty] | Valencia | NM | 35061 | Belen Switching Station | West | Belen Energy | Public Service Company of New Mexico | PNM |  |  | NRIS | Generation | Battery |  |  | Battery | 49.5 |  |  | 2021 | 2025
IC-236 | operational | 2010-03-25 | 2014-12-15 | 2024-04-30 |  | 2013-10-28 | Operational | IA Executed | Burke | GA | 13033 |  | Southeast | Vogtle Unit 3 | Southern Company | SOCO |  |  |  | Generation | Nuclear |  |  | Nuclear | 1158 |  |  | 2010 | 2014
0 | operational | 1997-12-01 | [5 empty] | IA Executed | Choctaw | MS | 28019 |  | Southeast |  | Tennessee Valley Authority | TVA |  |  |  | Generation | Other |  |  | Other | 480 |  |  | 1997
2024-G2 | active | 2024-11-01 | 2028-12-31 |  |  |  |  | Not Started | Shasta | CA | 6089 | Round Mtn-Cottonwood #1 230 kV Transmission Line | West |  | WAPA Sierra Nevada | WAPA-SN |  |  | NRIS/ERIS | Generation | Solar | Battery |  | Solar+Battery | 125 |  |  | 2024 | 2028
11INR0062 | operational | 2009-04-22 | 2021-06-30 | 2021-06-08 |  | 2013-07-02 | IA | IA Executed | Nueces | TX | 48355 | 85000 Nelson Sharpe 345kV | ERCOT | Shaffer Wind |  | ERCOT | Clearway Energy |  |  | Generation | Wind |  |  | Wind | 226 |  |  | 2009 | 2021
0 | operational | 1997-12-01 | [5 empty] | IA Executed |  |  | 28019 |  | Southeast |  | Tennessee Valley Authority | TVA |  |  |  | Generation | Other |  |  | Other | 480 |  |  | 1997

## 04. Data Codebook
RETURN TO CONTENTS
Field Name | Description | Notes
q_id | queue position / ID number | Combine with "entity" to form a unique identifier across the full dataset
q_status | current queue status | One of: active, withdrawn, suspended, or operational
q_date | interconnection request date (date project entered queue)
prop_date | proposed online date from interconnection application | Proposed date can be revised during the interconnection process
on_date | date project became operational (if applicable)
wd_date | date project withdrawn from queue (if applicable)
ia_date | date of signed interconnection agreement (if applicable)
IA_phase_raw | non-standardized interconnection study phase / status from queue
IA_phase_clean | standardized interconnection study phase / status | We impute "IA Executed" if q_status is "operational". One of: IA Executed, Withdrawn, System Impact Study, Feasibility Study, Facility Study, In Progress (unknown study), Cluster Study, IA Pending, Not Started, Construction, Suspended
county | county where project is located | For requests spanning multiple counties, only the first listed county is included
state | state where project is located
fips_code | 5-digit FIPS code | Unique, standardized numeric codes to identify counties
poi_name | point of interconnection name | May be a substation name or transmission line tap
region | standardized region where project is located | One of: the 7 ISOs; and West (non-ISO) or Southeast (non-ISO)
project_name | project name | Not available for most requests
utility | utility name | Same as "entity" in non-ISO/RTO balancing areas
entity | transmission provider entity name (ISO or utility) | One of the 57 regions listed on the 01. Balancing Areas sheet
developer | non-standardized project developer name | Not available for most requests
cluster | queue cluster (if applicable)
service | interconnection service type | One of: NRIS, ERIS, NRIS/ERIS, or Other
project_type | type of project or interconnection request | One of: Generation, Surplus, Upgrade, or Replacement. Not all upgrades / uprates are identified
type_1 | resource type 1 | One of: Solar, Wind, Battery, Gas, Hydro, Coal, Offshore Wind, Nuclear, Geothermal, Diesel, Oil, Hydrogen, Other Storage, Other
type_2 | resource type 2 | If populated, indicates hybrid / co-located project
type_3 | resource type 3 | If populated, indicates hybrid / co-located project
type_clean | resource type - standardized | Combined resource types if hybrid/co-located (e.g., "Solar+Battery")
mw_1 | capacity of type 1 (MW) | Rated electric capacity of the generation or storage plant
mw_2 | capacity of type 2 (MW) | The full report includes imputed storage capacity for hybrid and co-located generators where mw_2 and mw_3 values are missing. Those imputed values are excluded from the data reported here.
mw_3 | capacity of type 3 (MW) | The full report includes imputed storage capacity for hybrid and co-located generators where mw_2 and mw_3 values are missing. Those imputed values are excluded from the data reported here.
q_year | year project entered queue | Derived from q_date
prop_year | proposed online year from interconnection application | Derived from prop_date